## Quote Summary
HPC Cluster Hardware Proposal — Consortium Genomics Core
Vendor: Helix Infrastructure Solutions ¦ Quote #: AHS-2027-04721 ¦ Valid Until: 2027-06-30
Prepared for: Office of Research Computing, Northstar Genomics Consortium
Item | Description | Unit Price ($) | Quantity | Total Price ($) | Lead Time (weeks)
NVIDIA DGX H100 System | 8x NVIDIA H100 80 GB SXM5, 2x Intel Xeon Platinum 8480+, 2 TB DDR5, 30 TB NVMe SSD, ConnectX-7 400 G | 346560 | 4 | 1386240 | 14
Dell PowerEdge R760xa | 4x NVIDIA A100 80 GB PCIe, 2x Intel Xeon Gold 6448Y, 1 TB DDR5, 15.36 TB NVMe SSD | 92055 | 8 | 736440 | 10
Dell PowerScale F710 All-Flash NAS | 500 TB usable, NFS/SMB, 100 GbE connectivity, data-at-rest encryption | 194940 | 1 | 194940 | 12
NetApp AFF A250 | 200 TB usable, NFS/iSCSI, dual-controller HA, SnapMirror replication | 102885 | 1 | 102885 | 10
NVIDIA InfiniBand NDR 400G Switch | Quantum-2 QM9700, 64-port NDR 400 Gb/s, managed, air-cooled | 30324 | 4 | 121296 | 8
Arista 7050X4 100G Ethernet Switch | 32-port 100 GbE QSFP28, BGP/OSPF, MACsec, dual PSU | 13537.5 | 2 | 27075 | 6
42U Server Rack with PDU | APC NetShelter SX 42U, dual vertical metered PDU (60 A 208 V), cable management | 4873.5 | 6 | 29241 | 4
Eaton 9PX 20 kVA UPS | Online double-conversion, 20 kVA / 18 kW, extended-runtime battery module, network card | 19494 | 3 | 58482 | 6
Installation & Configuration Services | On-site rack, stack, cable, power-up, firmware updates, burn-in testing (est. 3 weeks) | 81225 | 1 | 81225 | N/A
3-Year Premium Support Contract | 24x7x4 hr on-site response, firmware & driver updates, dedicated TAM, quarterly health checks | 200355 | 1 | 200355 | N/A
| Subtotal |  |  | 2938179
| Sales Tax (8.5%) |  |  | 249745.21
| Shipping & Handling |  |  | 16245
| GRAND TOTAL |  |  | 3204169.21

## Technical Specifications
Technical Specifications — Proposed HPC Cluster Components
Component | Specification | Performance Metric | Power Draw (W) | Cooling Requirement (BTU/hr)
NVIDIA DGX H100 — GPU Subsystem | 8x NVIDIA H100 80 GB SXM5, NVLink 4.0 (900 GB/s bisection), NVSwitch | 8x 3,958 TFLOPS FP8 (aggregate); 640 GB HBM3 total | 10200 | 34802
NVIDIA DGX H100 — CPU & Memory | 2x Intel Xeon Platinum 8480+ (56 C / 112 T each), 2 TB DDR5-4800 ECC | SPECrate2017_int_base ≈ 630 (est.) | 700 | 2388
NVIDIA DGX H100 — Storage | 8x 3.84 TB NVMe U.2 SSD (30.72 TB raw), RAID / LVM | Sequential read ≈ 26 GB/s aggregate | 150 | 512
NVIDIA DGX H100 — Networking | 8x ConnectX-7 NDR 400 Gb/s InfiniBand + 2x 100 GbE management | 3,200 Gb/s aggregate fabric bandwidth | 120 | 409
NVIDIA DGX H100 — System Total (per node) | Chassis: 8U, weight 122 kg, redundant 3+1 PSU 10.2 kW | Peak aggregate ≈ 31,664 TFLOPS FP8 per node | 10200 | 34802
Dell R760xa — GPU Subsystem | 4x NVIDIA A100 80 GB PCIe Gen4, NVLink bridge (pairs) | 4x 624 TFLOPS FP8; 320 GB HBM2e total | 1200 | 4094
Dell R760xa — CPU & Memory | 2x Intel Xeon Gold 6448Y (32 C / 64 T each), 1 TB DDR5-4800 ECC | SPECrate2017_int_base ≈ 390 (est.) | 500 | 1706
Dell R760xa — Storage | 4x 3.84 TB NVMe U.2 SSD (15.36 TB raw), PERC H755N RAID | Sequential read ≈ 13 GB/s aggregate | 80 | 273
Dell R760xa — Networking | 2x ConnectX-7 NDR200 InfiniBand + 2x 25 GbE management | 400 Gb/s fabric bandwidth | 50 | 171
Dell R760xa — System Total (per node) | Chassis: 4U, weight 45 kg, redundant 2+1 PSU 3.5 kW | Peak aggregate ≈ 2,496 TFLOPS FP8 per node | 3500 | 11942
Dell PowerScale F710 | All-flash NAS, 500 TB usable, 4-node cluster, 100 GbE uplinks (4x per node) | Throughput ≈ 45 GB/s read, ≈ 30 GB/s write; IOPS ≈ 1.2 M | 4800 | 16378
NetApp AFF A250 | 200 TB usable, dual-controller HA, NFS/iSCSI, 25 GbE (4 ports/controller) | Throughput ≈ 11 GB/s read; IOPS ≈ 460 K | 1500 | 5118
NVIDIA QM9700 NDR 400G InfiniBand Switch | 64-port NDR 400 Gb/s, cut-through latency < 90 ns, SHARP in-network computing | Total bisection bandwidth: 25.6 Tb/s per switch | 2200 | 7506
Arista 7050X4 100GbE Switch | 32x QSFP28 100 GbE, L2/L3, BGP/OSPF/VXLAN, MACsec, dual PSU | Switching capacity: 6.4 Tbps, latency < 1.2 µs | 350 | 1194
42U Rack + Dual PDU | APC NetShelter SX, 42U, 750 mm W x 1200 mm D, dual metered PDU 60 A 208 V (per rack) | Max load capacity: 24.96 kW per rack (208 V × 60 A × 2 PDU) | 0 | 0
Eaton 9PX 20 kVA UPS | Online double-conversion, 20 kVA / 18 kW, PF 0.9, extended-runtime battery | Runtime at full load ≈ 6 min internal; ≈ 30 min with ext. battery module | 540 | 1842
CLUSTER TOTAL — Compute Nodes | 4x DGX H100 + 8x Dell R760xa = 64 H100 + 32 A100 GPUs | FP8 peak: ≈ 146,624 TFLOPS; 7,680 GB GPU memory | 0 | 0
CLUSTER TOTAL — Electrical Load Before PUE | Compute: 68.8 kW (DGX) + 28.0 kW (R760xa); Storage: 6.3 kW; Network: 9.5 kW; UPS overhead: 1.6 kW | Estimated site electrical load ≈ 114.2 kW (UPS included; facility cooling excluded, so apply PUE separately) | 114200 | 389650